RISK ASSESSMENT

FIRE SAFETY

Document Reference: BS-CH-RA-007

Assessment Date: [DD/MM/YYYY]

Review Date: [DD/MM/YYYY]

Assessor: [Insert Name]

Location: [Insert Care Home Name & Address]

Version: 1.0

1. Purpose

To identify, evaluate and mitigate fire safety risks within the care home, ensuring the safety of all persons and compliance with the Regulatory Reform (Fire Safety) Order 2005.

2. Scope

This assessment covers ignition sources, fuel sources, means of escape, fire detection and alarm systems, firefighting equipment, evacuation of mobility/cognitively impaired residents, training, and arson. It applies to all persons on premises.

3. Legal & Regulatory Framework

•  Regulatory Reform (Fire Safety) Order 2005 – Articles 8–22

•  Fire Safety Act 2021

•  Fire Safety (England) Regulations 2022

•  Health and Safety at Work etc. Act 1974

•  Health and Social Care Act 2008 (Regulated Activities) Regulations 2014 – Regulation 12 & 15

•  Building Regulations 2010 – Part B

•  BS 5839-1:2017 – Fire Detection and Alarm Systems

•  BS 5266-1:2016 – Emergency Lighting

4. Risk Rating Matrix

Risk is calculated as Likelihood (L) × Severity (S). The following colour-coded matrix defines action thresholds:

| Likelihood (L) | Severity (S) | Rating (L×S) | Risk Level | Action Required |
| --- | --- | --- | --- | --- |
| 1–2 | 1–2 | 1–4 | LOW | Monitor – no immediate action |
| 2–3 | 2–3 | 5–12 | MEDIUM | Controls required; review quarterly |
| 4–5 | 4–5 | 13–25 | HIGH | Immediate action; cease activity until controlled |

5. Hazard Identification & Control Measures

| Hazard | Who Is at Risk | Existing Controls | Additional Controls | L | S | Rating | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fire in resident bedroom | All persons on premises | PAT testing annually; no smoking policy (designated external area); fire-retardant furnishings/bedding (BS 7177); automatic fire detection in every room; self-closing fire doors | Smoking risk assessment per resident; electrical equipment register; night bedroom checks; fire-retardant compliance audit; personal item condition check on admission | 2 | 5 | 10 | MEDIUM |
| Fire in kitchen / laundry | All persons on premises | Kitchen extraction with suppression system; deep fat fryer thermostat; laundry lint filters cleaned daily; fire blanket and CO2 extinguisher in kitchen | Extraction duct cleaning six-monthly; laundry maintenance schedule; out-of-hours cooking prohibition; kitchen-specific fire procedure displayed | 2 | 5 | 10 | MEDIUM |
| Failure to evacuate immobile residents | Residents | PEEP for each resident; ski sheets on each floor; evacuation chairs at stairwells; progressive horizontal evacuation strategy; adequate night staffing | Evacuation drill quarterly (including night); PEEP reviewed monthly; equipment training for all staff; fire service liaison for pre-incident planning | 2 | 5 | 10 | MEDIUM |
| Cognitively impaired residents during evacuation | Residents | PEEP addresses cognitive needs; reassurance techniques trained; familiar staff allocated; buddy system for night evacuation | Dementia-friendly signage; visual alarm indicators; assembly point orientation; fire drill debrief includes cognitive care review | 3 | 4 | 12 | MEDIUM |
| Fire detection / alarm system failure | All persons on premises | L1 category system (BS 5839-1); weekly test; six-monthly service; annual full test; 24/7 fault monitoring | Backup standalone detectors; system upgrade plan; guaranteed-response maintenance contract; weekly test log signed by manager | 1 | 5 | 5 | MEDIUM |
| Blocked / inadequate means of escape | All persons on premises | Daily fire exit checks; emergency lighting monthly test; illuminated signage; corridors kept clear; fire doors maintained | Annual FRA by competent assessor; fire door survey annually; escape route timing exercise; defective door repair within 24 hours | 2 | 5 | 10 | MEDIUM |
| Arson | All persons on premises | External bins stored away from building; secure entry; CCTV; grounds maintenance; no combustible material against building | Arson addressed in FRA; letterbox protection; night security review; police/fire intelligence liaison; external lighting | 1 | 5 | 5 | MEDIUM |
| Untrained staff / poor drill performance | All persons on premises | Fire training at induction; annual refresher; fire action notices; fire marshal per shift; procedure in staff handbook | Unannounced drill quarterly with debrief log; new staff competency within first week; agency staff fire briefing on first shift | 2 | 4 | 8 | MEDIUM |

6. Additional Notes

The Responsible Person under the RRO 2005 is [Insert Name]. A fire risk assessment by a competent person must be reviewed annually. The home must operate progressive horizontal evacuation. All fire equipment maintained per British Standards.

7. Sign-Off & Approval

This risk assessment has been reviewed and approved by the undersigned. It shall be reviewed at least annually or following any significant incident, change in legislation, or operational modification.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor | [Insert Name] |  | [DD/MM/YYYY] |
| Registered Manager | [Insert Name] |  | [DD/MM/YYYY] |
| H&S Lead / Responsible Individual | [Insert Name] |  | [DD/MM/YYYY] |

Barker Scott – Care Home Compliance

barker-scott.co.uk