RISK ASSESSMENT

FIRE SAFETY

| Reference | BS-RA-FS-003 | Assessment Date | [Insert Date] |
| --- | --- | --- | --- |
| Assessed By | [Insert Name], [Insert Job Title] | Review Date | [Insert Date – 12 months from assessment] |
| Practice Name | [Insert Practice Name] | Approved By | [Insert Name], [Insert Job Title] |

## 1. Purpose

To identify fire hazards within the GP practice premises, evaluate the risk to persons, and establish control measures to prevent fire and ensure safe evacuation in the event of a fire, in compliance with the Regulatory Reform (Fire Safety) Order 2005.

## 2. Scope

All areas of the practice premises including clinical rooms, reception, waiting areas, staff rooms, storage areas, plant rooms, and external access/egress points. Applies to all staff, patients, visitors, contractors, and persons with disabilities.

## 3. Applicable Legislation and Guidance

- Regulatory Reform (Fire Safety) Order 2005 (Articles 8–22)

- Health and Safety at Work etc. Act 1974 (Section 2)

- The Management of Health and Safety at Work Regulations 1999

- The Building Regulations 2010 (Part B – Fire Safety)

- BS 5839 Fire Detection and Fire Alarm Systems

- BS 5266 Emergency Lighting

- Health Technical Memorandum 05-01: Managing Healthcare Fire Safety (Department of Health)

- The Equality Act 2010 (duty to make reasonable adjustments for disabled persons in evacuation)

## 4. Risk Rating Matrix (Likelihood × Severity)

L = Likelihood (1–5)  |  S = Severity (1–5)  |  Rating = L × S

Low (1–4)    Medium (5–11)    High (12–25)

| Likelihood / Severity | 1 - Negligible | 2 - Minor | 3 - Moderate | 4 - Major | 5 - Catastrophic |
| --- | --- | --- | --- | --- | --- |
| 1 - Very Unlikely | 1 Low | 2 Low | 3 Low | 4 Medium | 5 Medium |
| 2 - Unlikely | 2 Low | 4 Low | 6 Medium | 8 High | 10 High |
| 3 - Possible | 3 Low | 6 Medium | 9 High | 12 High | 15 High |
| 4 - Likely | 4 Medium | 8 High | 12 High | 16 High | 20 High |
| 5 - Almost Certain | 5 Medium | 10 High | 15 High | 20 High | 25 High |

## 5. Risk Assessment

|  |  |  | INITIAL RISK |  |  |  | RESIDUAL RISK |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazard / Risk | Who Is at Risk? | Existing Control Measures | L | S | Rating | Additional Control Measures Required | L | S | Rating | Action Owner | Target Date |
| Accumulation of combustible materials in storage rooms, corridors, and clinical areas | All building occupants | Housekeeping policy; monthly walk-round inspection; storage rooms kept locked; combustible materials stored away from ignition sources; waste removed daily | 2 | 5 | High | Quarterly fire safety walk-round with documented findings; reduce paper storage through digitisation programme; install fire-resistant storage for medical records; ensure corridors remain clear at all times with daily checks | 1 | 5 | Medium | [Insert Name] | [Insert Date] |
| Blocked or inadequate fire escape routes and final exits | All building occupants, particularly mobility-impaired patients | Fire escape routes clearly signed; emergency lighting installed and tested monthly; fire exits checked daily; Personal Emergency Evacuation Plans (PEEPs) for known mobility-impaired regular patients and disabled staff | 2 | 5 | High | Six-monthly fire escape route audit; ensure all fire doors close fully and are not wedged open; update PEEPs annually or when patient/staff circumstances change; install automatic door closers linked to fire alarm; review signage annually | 1 | 5 | Medium | [Insert Name] | [Insert Date] |
| Failure or absence of fire detection, alarm, and suppression systems | All building occupants | Automatic fire detection system to BS 5839 with smoke and heat detectors; weekly alarm test; six-monthly service by competent contractor; fire extinguishers serviced annually; fire alarm zones mapped to building plan | 1 | 5 | Medium | Upgrade to L1 category fire detection if not already in place; install fire alarm system monitoring linked to Alarm Receiving Centre (ARC); ensure all staff know alarm zone locations; maintain fire alarm log book with all tests and defects recorded | 1 | 5 | Medium | [Insert Name] | [Insert Date] |
| Electrical faults from medical equipment, IT systems, or building installations causing ignition | All building occupants | Five-yearly fixed wiring inspection (EICR); PAT testing of portable appliances annually; visual inspection of equipment before use; defective equipment withdrawn from service and labelled; no personal electrical equipment policy | 2 | 4 | High | Maintain PAT testing register with next-test dates; ensure no multi-plug adaptors in use; implement thermal imaging survey of electrical distribution boards annually; staff training on recognising electrical faults; report electrical defects immediately via maintenance log | 1 | 4 | Medium | [Insert Name] | [Insert Date] |
| Staff unaware of fire procedures, evacuation routes, or fire extinguisher use | All building occupants | Fire safety induction for new staff; annual fire safety training; fire evacuation drill conducted six-monthly; fire action notices displayed; designated fire wardens appointed per floor/area | 2 | 4 | High | Ensure fire warden training is refreshed annually; conduct unannounced fire drills with debrief; test knowledge of fire procedures in annual appraisals; display evacuation plan maps at key locations; maintain fire training matrix with attendance records | 1 | 4 | Medium | [Insert Name] | [Insert Date] |

## 6. Assessment Sign-Off

This risk assessment has been reviewed and approved by the following authorised persons. It shall be reviewed at least annually, or sooner if there is a significant change in work practices, legislation, or following an incident.

| Role | Signature / Name | Date |
| --- | --- | --- |
| Assessor: [Insert Name] |  |  |
| Practice Manager: [Insert Name] |  |  |
| Senior Partner / Lead GP: [Insert Name] |  |  |
| Health & Safety Lead: [Insert Name] |  |  |

Document Control

| Version | Date | Author | Changes |
| --- | --- | --- | --- |
| 1.0 | [Insert Date] | [Insert Name] | Initial issue |

Prepared by Barker Scott  |  barker-scott.co.uk  |  Health & Safety Consultants

This document is confidential and intended solely for use by the named practice. Unauthorised reproduction or distribution is prohibited.